## Slide 1: EURLAB
European
Robotic
LABoratory
HOW TO TEST TEMPERATURE SENSOR

## Slide 2
1-How TO MEASURE TEMPERATURE
1.1-PRESENTATION
To Measure Temperature, you need LM35 sensor whose output voltage is linearly proportional to the Celsius (Centigrade) temperature.
To do this, you need :
Computer,
Arduino Uno Board,
USB cable,
LM35 Temperature sensor
Arduino software
Ardublock program (12-LM35-TemperatureSensor.abp)

## Slide 3
1-How TO MEASURE TEMPERATURE
1.2-How to connect LM35 to Arduino
In order to measure Temperature, use the picture below to connect LM35 Temperature sensor to arduino.

## Slide 4
1-How TO MEASURE TEMPERATURE
1.3-Upload Program
From computer,
Launch Arduino Software,
Launch Ardublock Sofware,
Open 12-LM35-TemperatureSensor.abp,
Upload it to arduino.

## Slide 5
1-How TO MEASURE TEMPERATURE
1.4-How does it work?
This program converts the voltage value produced by the Temperature Sensor into a Temperature Value.
Then, Arduino program sends the value to serial port.
If temperature is more than 30°C, it writes : « it’s hot »
If temperature is less than 10°C, it writes : « it’s cold »

## Slide 6
2-TEST IT !
2.1-Read the temperature
Open Serial monitor from arduino,
Look at the result inside serial monitor
Put the temperature sensor in front of a heat source